## Plan1
| SP | SP | RJ | RS | MG | PR | BA | PE | PA | MS | CE | DF | RO | AM
| LAB + Reserva | 21 DSUP | 1 DSUP | 3 DSUP | 4 DSUP | 5 DSUP | 6 DSUP | 7 DSUP | 8 DSUP | 9 DSUP | 10 DSUP | 11 DSUP |  | 12 DSUP | TOTAL
EQUIPAMENTOS SEAL
COBERTURA RF
CONTROLADOR DE REDE | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 30
PONTO DE ACESSO | 6 | 15 | 20 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 151
POE | 6 | 15 | 20 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 151
ANTENA | 12 | 60 | 80 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 372
PORTAIS RFID
LEITOR RFID, FONTE, CABOS E 4 ANTENAS | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 30
ESTRUTURA MECANICA PARA PORTAL | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 27
SINALIZADOR SONORO VISUAL | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 27
BRIDGE RF | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 28
MINISWITCH | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 28
CAIXA DE PROTEÇÃO | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 28
NOBREAK | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 28
TERMINAL DE DADOS | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 27
KIT DE MONTAGEM | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 27
DISPOSITIVO PARA INVENTÁRIO
LEITOR RFID, FONTE, CABOS E 4 ANTENAS | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 17
ESTRUTURA MECANICA PARA PORTAL | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
SINALIZADOR SONORO VISUAL | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
BRIDGE RF | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
BATERIA | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
MINISWITCH | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
CAIXA DE PROTEÇÃO | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
CARREGADOR DE BATERIA | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
TERMINAL DE DADOS | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
KIT DE MONTAGEM | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
TUNEL RFID
LEITOR RFID, FONTE, CABOS E 4 ANTENAS | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 17
ESTRUTURA MECANICA PARA TUNEL | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
SINALIZADOR SONORO VISUAL | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
BRIDGE RF | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
MINISWITCH | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
CAIXA DE PROTEÇÃO | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
NOBREAK | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
TERMINAL DE DADOS | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
KIT DE MONTAGEM | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
COLETORES DE DADOS RFID | 2 | 8 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 62
BERÇO DE COMUNICAÇÃO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 15
CARREGADOR DE BATERIAS | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 15
BATERIA ADICIONAL | 2 | 8 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 62
IMPRESSORAS RFID | 3 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 33
LEITOR HIBRIDO | 2 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32
CAMERA IP | 2 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32
EQUIPAMENTOS TERCEIROS
ESTEIRA TRANSPORTADORA EXTENSIVEL | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
ESTEIRA TRANSPORTADORA ROLETE | 2 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32
ESTEIRA TRANSPORTADORA MOTORIZADA | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
BALANÇA DINAMICA 50 KG | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
BALANÇA ELETRONICA 1000 KG | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16
REDE CABEADA
SWITCH CISCO 2960 - 24 PORTAS | 3 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 33
GBIC | 6 | 8 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 66
DIO | [14 empty] | 0
PATCH PANEL | [14 empty] | 0
FIBRA OPTICA | [14 empty] | 0
PATCH CORD OPTICO | 6 | 8 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 66
CABO UTP CAT 6 | [14 empty] | 0
ELETRODUTO / ELETROCALHA | [14 empty] | 0
RACK 44U | [14 empty] | 14 | bar: SP to AM
RACK 8U VENTILADO | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 28
NOBREAK | [14 empty] | 14 | bar: SP to AM
LICENÇA DE USO
KAIROS | [14 empty] | 14 | bar: SP to AM
MODULO SGM | [14 empty] | 14 | bar: SP to AM
MODULO WMS | [14 empty] | 14 | bar: SP to AM
MODULO PORTAL WEB | [14 empty] | 14 | bar: SP to AM
MODULO MONITOR DE PROCESSOS | [14 empty] | 14 | bar: SP to AM
MODULO NOC | [14 empty] | 14 | bar: SP to AM
AIR DEFENSE
AirDefense Services Platform Appliance Model SV-1252. 1U entry-level appliance for small wireless environments that expect limited growth. Order AC line cord separately. Note: Must add a first-year service program to this product SKU. | [14 empty] | 1
AirDefense Services Platform Backup Appliance Model SV-1252. Only available to customers who have purchased a primary server appliance of the same type. Order AC line cord. Note: Must add a first-year service program to this product SKU | [14 empty] | 1
3 Year Service from the Start Service Center Bronze. Includes Comprehensive Coverage. Includes Software Support (technical support and software updates)+A103 | [14 empty] | 1
3 Year Service from the Start Service Center Bronze. Includes Comprehensive Coverage. Includes Software Support (technical support and software updates) | [14 empty] | 1
AirDefense Enterprise base Wireless Intrusion Prevention license for one (1) sensor. Note: Must add a first-year maintenance/service program to this product SKU. | [14 empty] | 50
AirDefense Network Assurance Suite license for one (1) sensor. Includes: AP Test, Advanced Forensics, Connectivity Troubleshooting, LiveRF (5 devices) and Spectrum Analysis licenses. Note: Must add a first-year maintenance/service program to this product SKU | [14 empty] | 50
3 Year Software Support for 1 WIPS sensor license. Includes technical support and software updates for base WIPS license. | [14 empty] | 50
3 Year Software Support for AirDefense Network Assurance Suite license; price per license. Includes technical support and software updates for AirDefese Network Assurance Suite license | [14 empty] | 50
AirDefense WLAN Management license for 200 devices. | [14 empty] | 1
3 Years Software Support for 200 WLAN Mgmt Device licenses. Includes technical support and software updates for WLAN Mgmt license. | [14 empty] | 1
INSUMOS
ETIQUETAS RFID |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
RIBBON |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
EMBALAGENS MADEIRA |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
EMBALAGENS PAPELAO |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
EMBALAGENS PLASTICA |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
PALETES |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
SERVIÇOS
SERVIÇOS ESPECIALIZADOS
ENGENHARIA DE PROJETOS | [14 empty] | 0
Site Survey Rede Cabeada
Site Survey Rede Sem Fio |  | 48 | 64 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 376 | US$ 5000
Supervisão |  | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 208
Instalação Rede Cabeada
Instalação Rede Sem Fio
Configuração e Ativação |  | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 208 | inserir hh para air defense
ENGENHARIA RFID | [14 empty] | 0
Site Survey RFID - Materiais | SP: 320 | 320
Site Survey RFID - Equipamentos |  | 240 | 40 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 456
Surpervisão |  | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 208
Instalação |  | 120 | 80 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 640
Configuração e Ativação |  | 40 | 40 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 344
0
ENGENHARIA DE SOFTWARE | [14 empty] | 0
Especificação Funcional | SP: 120
Modelagem de Dados | SP: 160
Construção | SP: 1080
Ambiente de Homologação | SP: 40
Testes Integrados | SP: 160
Homologação | SP: 160
Stress Test | SP: 80
Documentação / Manual | SP: 80
Montagem de Ambiente de Produção | SP: 40
Operação Inicial Asssitida |  | 160 | 80 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 680
IMPLANTAÇÃO | [14 empty] | 0
Testes Integrados |  | 80 | 80 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 336
Stress Test | SP: 80 | 80
Treinamento Técnico |  | 40 | 40 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 168
Treinamento Operacional |  | 40 | 40 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 168
Montagem de Ambiente de Produção |  | 16 | 16 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 120
Operação Inicial Asssitida |  | 80 | 40 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 340
Documentação | SP: 80 | 80
GERENCIAMENTO DE PROJETOS | SP: 2560 | 2560
SERVIÇOS DE TERCEIROS
ENGENHARIA EMBALAGENS | SP: 160 | 160
CONSULTORIA LOGÍSTICA | SP: 160 | 160
OBRAS DE INFRAESTRUTURA P/ REDE RF | [14 empty] | 0
OBRAS DE INFRAESTRUTURA P/ REDE CABEADA | [14 empty] | 0
ANALISE DE TRAFEGO DE REDE ENTRE DEPOSITOS E DATACENTER |  | 40 | 24 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 240 | 10000
ANALISE DE TRAFEGO DE REDE NOS DEPOSITOS | [14 empty] | 0
ANALISE DE INTERFERENCIA ELETROMAGNÉTICA |  | 40 | 24 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 240 | US$ 20.000
8092
809200
IDENTIFICAÇÃO DE POSIÇÕES DE ARMAZENAGEM
PLACA DE IDENTIFICAÇÃO DE COLUNAS (67 X 200 mm) | [14 empty] | 0
PLACA DE IDENTIFICAÇÃO DE ESTANTERIA (50 X 20 mm) | [14 empty] | 0
PLACA DE IDENTIFICAÇÃO DE RUAS (500 X 400mm) | [14 empty] | 0
PLACA DE IDENTIFICAÇÃO DE RUAS (400 X 300mm) | [14 empty] | 0
MÃO DE OBRA DE INSTALAÇÃO | [14 empty] | 0
SUPORTE TÉCNICO (12 MESES)
SUPORTE SEAL
ATENDIMENTO TELEFONICO | [14 empty] | 3840
ATENDIMENTO REMOTO | [14 empty] | 1920
ATENDIMENTO ON SITE (CORRETIVA) | [14 empty] | 1920
MANUTENÇÃO PREVENTIVA | [14 empty] | 1920
GERENCIAMENTO DE CONTRATO | [14 empty] | 960
MANUTENÇÃO EVOLUTIVA DE SOFTWARE | [14 empty] | 1920
SUPORTE TERCEIROS
ATENDIMENTO BALANÇAS | 2 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32
ATENDIMENTO ESTEIRAS | 4 | 8 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64
ATENDIMENTO REDE CABEADA | 3 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 33
EXTENSÃO DE GARANTIA MOTOROLA
LEITORES RFID | 8 | 6 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64
LEITORES HIBRIDOS | 2 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32
CONTROLADOR DE REDE | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 30
PONTOS DE ACESSO | 6 | 15 | 20 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 151
COLETOR DE DADOS | 2 | 8 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 62
EXTENSÃO DE GARANTIA SEAL
IMPRESSORA RFID | 3 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 33
CAMERA IP | 2 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32
HH (R$)
ENGENHEIRO | SP: 56
DESENVOLVEDOR | SP: 56
GERENTE DE PROJETOS | SP: 120
CONSULTOR RFID | SP: 120
CONSULTOR LOGISTICA | SP: 120
CONSULTOR ENG. EMBALAGEM | SP: 120
CONSULTOR IMPLANTAÇÃO | SP: 56
SUPORTE TECNICO | SP: 30
GERENTE DE CONTRATO | SP: 100